## Slide 1: MS4 Program Overview Provided to Assist with the Department of Environmental Quality’s MS4 Program Audit April 8, 2025 Presented by: Lee F. Hixon, Ph.D., P.E. President H2R Engineering, Inc. (Program Support Consultant)

## Slide 2
Program Overview
  Administration
  Regulated Campus
  Program Support Documents
Minimum Control Measures
  Public Education & Outreach
  Public Participation/Involvement
  Illicit Discharge Detection and Elimination
  Construction
  Post Construction
  Good Housekeeping/Pollution Prevention
Impaired Local Waters
Summary & Moving Forward
Discussion Overview
Overview │ MCM 1│ MCM 2 │ MCM 3 │ MCM 4 │ MCM 5 │ MCM 6 │ Summary

## Slide 3
Responsible Parties
  Oversight:
    Virginia Community College System
  Implementation:
    DCC Facilities Manager
      Coordination (MCM 1 & 2)
      Grounds staff oversight (MCM 3, 5 & 6)
      Virginia Community College System (MCM 4 & 5)
      H2R Engineering, Inc. (Support)
Nontraditional MS4
  One regulated campuses
  No TMDL WLAs
Regulatory Background
Overview │ MCM 1│ MCM 2 │ MCM 3 │ MCM 4 │ MCM 5 │ MCM 6 │ Summary

## Slide 4
MS4 Mapping
Overview │ MCM 1│ MCM 2 │ MCM 3 │ MCM 4 │ MCM 5 │ MCM 6 │ Summary

## Slide 5
Recieving Waters
Overview │ MCM 1│ MCM 2 │ MCM 3 │ MCM 4 │ MCM 5 │ MCM 6 │ Summary
DCC → Pumpkin Creek → Dan River → Roanoke River → Albemarle Sound
Dan River impaired due to bacteria exceedances

## Slide 6
MS4 Program Plan
  BMPs to explicitly address each permit requirement
  Documents Incorporated, by reference
    MS4 Staff Handbook
          IDDE Procedures
          BMP Inspection Procedures
          GH/PP Procedures
    MS4 Map & Outfall Information Table
    VCCS Stnds. & Specs. for ESC & SWM
    PEOP Materials
    Training Plan and Materials
    Annual inspection/assessment documents
Program Support Documents
Overview │ MCM 1│ MCM 2 │ MCM 3 │ MCM 4 │ MCM 5 │ MCM 6 │ Summary

## Slide 7
BMP Components
  Description
  List of Necessary SOPs
  Measurable Goal(s)
  Annual Reporting
  Requirements
  Implementation Schedule
Program BMPs
Overview │ MCM 1│ MCM 2 │ MCM 3 │ MCM 4 │ MCM 5 │ MCM 6 │ Summary
Explicitly address permit requirements

## Slide 8
Program BMPs (Example)
Overview │ MCM 1│ MCM 2 │ MCM 3 │ MCM 4 │ MCM 5 │ MCM 6 │ Summary
Program Plan
Reporting Template

## Slide 9
Target Audience
College public:
Students,
Faculty, &
Staff
Measure of
Effectiveness
Online survey
distribution via email
Education & Outreach Plan
Overview │ MCM 1 │ MCM 2 │ MCM 3 │ MCM 4 │ MCM 5 │ MCM 6 │ Summary

## Slide 10
  Example survey question: Stormwater from campus storm sewer drains to …
WQ Issues - Selection
Overview │ MCM 1 │ MCM 2 │ MCM 3 │ MCM 4 │ MCM 5 │ MCM 6 │ Summary
Need: General Information. (WQ Issue #1)
2023: 36% Correct
2025: 55% Correct
19% Increase!
Notes: Was about 36% in 2021, as well.

## Slide 11
WQ Issue #1
Overview │ MCM 1 │ MCM 2 │ MCM 3 │ MCM 4 │ MCM 5 │ MCM 6 │ Summary

## Slide 12
WQ Issues - Selection
Overview │ MCM 1 │ MCM 2 │ MCM 3 │ MCM 4 │ MCM 5 │ MCM 6 │ Summary
Need: Illicit Discharge education. (WQ Issue #2)
2025: 63% Correct
2023: 55% Correct
8% Increase!

## Slide 13
WQ Issue #2
Overview │ MCM 1 │ MCM 2 │ MCM 3 │ MCM 4 │ MCM 5 │ MCM 6 │ Summary

## Slide 14
Need: Information about receiving waters and impairments.
(WQ Issue #3)
Ground Staff activities have highest impact on impaired waters pollutants of concern on campuses
  TMDL POC info provided between training activities
WQ Issues #3
Overview │ MCM 1 │ MCM 2 │ MCM 3 │ MCM 4 │ MCM 5 │ MCM 6 │ Summary

## Slide 15
Stormwater Webpage
Overview │ MCM 1│ MCM 2 │ MCM 3 │ MCM 4 │ MCM 5 │ MCM 6 │ Summary
Required documents
Required info & reporting mechanism

## Slide 16
Pubic Participation
Overview │ MCM 1 │ MCM 2 │ MCM 3 │ MCM 4 │ MCM 5 │ MCM 6 │ Summary
Program Plan
Annual Reporting

## Slide 17
Staff Handbook for GH & PP
Overview │ MCM 1 │ MCM 2 │ MCM 3 │ MCM 4 │ MCM 5 │ MCM 6 │ Summary
Prohibition
Procedures
Forms

## Slide 18
Outfall Screening Form (Example)
Overview │ MCM 1 │ MCM 2 │ MCM 3 │ MCM 4 │ MCM 5 │ MCM 6 │ Summary

## Slide 19
Addresses ESC Regs
  Contractors required to be CGP permittee & implement SWPPP
  ESC inspections contracted (requires DEQ certifications)
  Supporting forms for guidance & documentation
Construction Runoff Control
Overview │ MCM 1 │ MCM 2 │ MCM 3 │ MCM 4 │ MCM 5 │ MCM 6 │ Summary

## Slide 20
Addresses SWM Regs
  Requires long term inspections & maintenance of SWM facilities
  SWM Facilities - 4 total as shown on mapping
    Annually inspected and maintained to ensure intended function
    Maintenance plan on BMP #2 this year
Post-Construction SWM
Overview │ MCM 1 │ MCM 2 │ MCM 3 │ MCM 4 │ MCM 5 │ MCM 6 │ Summary

## Slide 21
Post-Construction SWM
Overview │ MCM 1 │ MCM 2 │ MCM 3 │ MCM 4 │ MCM 5 │ MCM 6 │ Summary
Procedures
Forms

## Slide 22
SWM Inspection Form (Example)
Overview │ MCM 1 │ MCM 2 │ MCM 3 │ MCM 4 │ MCM 5 │ MCM 6 │ Summary

## Slide 23
SWM Inspection BMP 2
Overview │ MCM 1 │ MCM 2 │ MCM 3 │ MCM 4 │ MCM 5 │ MCM 6 │ Summary
  H2R task for survey & maintenance plan this reporting period.

## Slide 24
Procedures
Forms
Staff Handbook for GH & PP
Overview │ MCM 1 │ MCM 2 │ MCM 3 │ MCM 4 │ MCM 5 │ MCM 6 │ Summary
Training

## Slide 25
Staff Training
Overview │ MCM 1 │ MCM 2 │ MCM 3 │ MCM 4 │ MCM 5 │ MCM 6 │ Summary

## Slide 26
Staff Training
Overview │ MCM 1 │ MCM 2 │ MCM 3 │ MCM 4 │ MCM 5 │ MCM 6 │ Summary
Implementation (Compliance and
documentation)
Supporting Materials
Program Plan
Training
MS4 Permit

## Slide 27
Staff Training
Overview │ MCM 1 │ MCM 2 │ MCM 3 │ MCM 4 │ MCM 5 │ MCM 6 │ Summary
Spill Response Guidance
DCC GH/PP Handbook
Use absorbent
Scrub with broom
Remove prior to rainfall
Disposal Guidance
Documentation
Compliance to the Maximum Extent Practicable
Implementation
Training
Training

## Slide 28
High priority facility criteria not triggered with campus activities
  No SWPPP required
  Each campus annually evaluated
  Actions needed identified
DCC does not apply nutrients on campus.
SWPPP Assessment & NMP
Overview │ MCM 1 │ MCM 2 │ MCM 3 │ MCM 4 │ MCM 5 │ MCM 6 │ Summary

## Slide 29
Continued program implementation
BMP #2 Maintenance Plan with cost estimate, bidding & repairs
MS4 Training prior to September
All program updates complete for current permit
Moving Forward
Overview │ MCM 1 │ MCM 2 │ MCM 3 │ MCM 4 │ MCM 5 │ MCM 6 │ Summary

## Slide 30
Questions?
All DCC MS4 Program Documentation Readily Available Upon Request